## Table 1
Column1 | CHARACTERISTIC |  | NOMINAL VALUE | MEASURED VALUE | LOWER LIMIT | UPPER LIMIT | DEVIATION | EXCEEDANCE | NOT OK
| adcole | piweb
1 | Angle error to Cam 11 A6 - Lobe 1 | Angle error to Cam 11 A6 - Lobe 1 | 180 | 0 | -0.25 | 0.25 | -180 |  | not ok
2 | Angle error to Cam 11 A6 - Lobe 2 | Angle error to Cam 11 A6 - Lobe 2 | 304.4 | 289.904 | -0.25 | 0.25 | -14.496 | 289.654 | not ok
3 | Angle error to Cam 11 A6 - Lobe 3 | Angle error to Cam 11 A6 - Lobe 3 | 300 | 76.304 | -0.25 | 0.25 | -223.696 | 76.054 | not ok
4 | Angle error to Cam 11 A6 - Lobe 4 | Angle error to Cam 11 A6 - Lobe 4 | 64.4 | 222.694 | -0.25 | 0.25 | 158.294 | 222.444 | not ok
5 | Angle error to Cam 11 A6 - Lobe 5 | Angle error to Cam 11 A6 - Lobe 5 | 60 | 152.6 | -0.25 | 0.25 | 92.6 | 152.35 | not ok
6 |  | Angle error to Cam 11 A6 - Lobe 6 | 184.4 | -999.9 | -0.25 | 0.25 | -1184.3 | -999.65 | not ok
7 | Angle error to UZ - Lobe 1 | Angle error to UZ - Lobe 1 | 306.2 | 306.177 | -0.1 | 0.1 | -0.023 | 306.077 | ok
8 | Angle error to UZ - Lobe 2 | Angle error to UZ - Lobe 2 | 236.1 | 236.081 | -0.1 | 0.1 | -0.019 | 235.981 | ok
9 | Angle error to UZ - Lobe 3 | Angle error to UZ - Lobe 3 | 22.5 | 22.481 | -0.1 | 0.1 | -0.019 | 22.381 | ok
10 | Angle error to UZ - Lobe 4 | Angle error to UZ - Lobe 4 | 168.9 | 168.87 | -0.1 | 0.1 | -0.03 | 168.77 | ok
11 | Angle error to UZ - Lobe 5 | Angle error to UZ - Lobe 5 | 98.8 | 98.777 | -0.1 | 0.1 | -0.023 | 98.677 | ok
12 |  | Angle error to UZ - Lobe 6 | 280.8 | -999.9 | -0.1 | 0.1 | -1280.7 | -999.8 | not ok
13 | Angulo entre as superficies | Angulo entre as superficies | 40 | -999.9 | -0.125 | 0.125 | -1039.9 | -999.775 | not ok
14 | BC Radius Error - Lobe 1 | BC Radius Error - Lobe 1 | 25 | 25.057 | -0.1 | 0.1 | 0.057 | 24.957 | ok
15 | BC Radius Error - Lobe 2 | BC Radius Error - Lobe 2 | 25 | 25.036 | -0.1 | 0.1 | 0.036 | 24.936 | ok
16 | BC Radius Error - Lobe 3 | BC Radius Error - Lobe 3 | 25 | 25.029 | -0.1 | 0.1 | 0.029 | 24.929 | ok
17 | BC Radius Error - Lobe 4 | BC Radius Error - Lobe 4 | 25 | 25.023 | -0.1 | 0.1 | 0.023 | 24.923 | ok
18 | BC Radius Error - Lobe 5 | BC Radius Error - Lobe 5 | 25 | 25.025 | -0.1 | 0.1 | 0.025 | 24.925 | ok
19 |  | BC Radius Error - Lobe 6 | 32 | -999.9 | -0.1 | 0.1 | -1031.9 | -999.8 | not ok
20 | BC Runout - Lobe 1 | BC Runout - Lobe 1 | 0 | 0.003 | 0 | 0.04 | 0.003 |  | ok
21 | BC Runout - Lobe 2 | BC Runout - Lobe 2 | 0 | 0.004 | 0 | 0.04 | 0.004 |  | ok
22 | BC Runout - Lobe 3 | BC Runout - Lobe 3 | 0 | 0.002 | 0 | 0.04 | 0.002 |  | ok
23 | BC Runout - Lobe 4 | BC Runout - Lobe 4 | 0 | 0.005 | 0 | 0.04 | 0.005 |  | ok
24 | BC Runout - Lobe 5 | BC Runout - Lobe 5 | 0 | 0.019 | 0 | 0.04 | 0.019 |  | ok
25 |  | BC Runout - Lobe 6 | 0 | -999.9 | 0 | 0.04 | -999.9 | -999.9 | not ok
26 | Concave/Convex - Lobe 1 | Concave/Convex - Lobe 1 | 0 | 0.001 | -0.005 | 0.005 | 0.001 |  | ok
27 | Concave/Convex - Lobe 2 | Concave/Convex - Lobe 2 | 0 | 0.001 | -0.005 | 0.005 | 0.001 |  | ok
28 | Concave/Convex - Lobe 3 | Concave/Convex - Lobe 3 | 0 | 0.001 | -0.005 | 0.005 | 0.001 |  | ok
29 | Concave/Convex - Lobe 4 | Concave/Convex - Lobe 4 | 0 | 0.001 | -0.005 | 0.005 | 0.001 |  | ok
30 | Concave/Convex - Lobe 5 | Concave/Convex - Lobe 5 | 0 | 0.001 | -0.005 | 0.005 | 0.001 |  | ok
31 |  | Concave/Convex - Lobe 6 | 0 | -999.9 | -0.005 | 0.005 | -999.9 | -999.895 | not ok
32 | Cylindricity - A | Cylindricity - A | 0 | 0.008 | 0 | 0.02 | 0.008 |  | ok
33 | Cylindricity - B | Cylindricity - B | 0 | 0.002 | 0 | 0.02 | 0.002 |  | ok
34 | Cylindricity - C | Cylindricity - C | 0 | 0.002 | 0 | 0.02 | 0.002 |  | ok
35 | Cylindricity - D | Cylindricity - D | 0 | 0.006 | 0 | 0.02 | 0.006 |  | ok
36 | Cylindricity - E | Cylindricity - E | 0 | 0.007 | 0 | 0.02 | 0.007 |  | ok
37 | Cylindricity - F | Cylindricity - F | 0 | 0.015 | 0 | 0.02 | 0.015 |  | ok
38 | Cylindricity - G | Cylindricity - G | 0 | 0.014 | 0 | 0.02 | 0.014 |  | ok
39 | Diametro A [Center] | Diametro A [Center] | 35.967 | 35.958 | -0.008 | 0.008 | -0.009 | 35.95 | ok
40 | Diametro A [Inf] | Diametro A [Inf] | 35.967 | 35.966 | -0.008 | 0.008 | -0.001 | 35.958 | ok
41 | Diametro A [Sup] | Diametro A [Sup] | 35.967 | 35.954 | -0.008 | 0.008 | -0.013 | 35.946 | ok
42 | Diametro B [Center] | Diametro B [Center] | 35.967 | 35.963 | -0.008 | 0.008 | -0.004 | 35.955 | ok
43 | Diametro B [Inf] | Diametro B [Inf] | 35.967 | 35.964 | -0.008 | 0.008 | -0.003 | 35.956 | ok
44 | Diametro B [Sup] | Diametro B [Sup] | 35.967 | 35.961 | -0.008 | 0.008 | -0.006 | 35.953 | ok
45 | Diametro C [Center] | Diametro C [Center] | 35.967 | 35.964 | -0.008 | 0.008 | -0.003 | 35.956 | ok
46 | Diametro C [Inf] | Diametro C [Inf] | 35.967 | 35.962 | -0.008 | 0.008 | -0.005 | 35.954 | ok
47 | Diametro C [Sup] | Diametro C [Sup] | 35.967 | 35.963 | -0.008 | 0.008 | -0.004 | 35.955 | ok
48 | Diametro D [Center] | Diametro D [Center] | 35.967 | 35.958 | -0.008 | 0.008 | -0.009 | 35.95 | ok
49 | Diametro D [Inf] | Diametro D [Inf] | 35.967 | 35.965 | -0.008 | 0.008 | -0.002 | 35.957 | ok
50 | Diametro D [Sup] | Diametro D [Sup] | 35.967 | 35.956 | -0.008 | 0.008 | -0.011 | 35.948 | ok
51 | Diametro E [Center] | Diametro E [Center] | 35.967 | 35.962 | -0.008 | 0.008 | -0.005 | 35.954 | ok
52 | Diametro E [Inf] | Diametro E [Inf] | 35.967 | 35.971 | -0.008 | 0.008 | 0.004 | 35.963 | ok
53 | Diametro E [Sup] | Diametro E [Sup] | 35.967 | 35.961 | -0.008 | 0.008 | -0.006 | 35.953 | ok
54 | Diametro F [Center] | Diametro F [Center] | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | ok
55 | Diametro F [Inf] | Diametro F [Inf] | 47.967 | 47.991 | -0.008 | 0.008 | 0.024 | 47.983 | ok
56 | Diametro F [Sup] | Diametro F [Sup] | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | ok
57 | Diametro G [Center] | Diametro G [Center] | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | ok
58 | Diametro G [Inf] | Diametro G [Inf] | 47.967 | 47.99 | -0.008 | 0.008 | 0.023 | 47.982 | ok
59 | Diametro G [Sup] | Diametro G [Sup] | 47.967 | 47.966 | -0.008 | 0.008 | -0.001 | 47.958 | ok
60 | Distancia U para o Eixo de Rot | Distancia U para o Eixo de Rot | 39.7 | -999.9 | -0.05 | 0.05 | -1039.6 | -999.85 | not ok
61 | Distancia Z para o Eixo de Rot | Distancia Z para o Eixo de Rot | 39.7 | -999.9 | -0.05 | 0.05 | -1039.6 | -999.85 | not ok
62 | Lift Difference - Lobe 1 | Lift Difference - Lobe 1 | 0 | 0.003 | 0 | 0.01 | 0.003 |  | not ok
63 | Lift Difference - Lobe 2 | Lift Difference - Lobe 2 | 0 | 0.003 | 0 | 0.01 | 0.003 |  | not ok
64 | Lift Difference - Lobe 3 | Lift Difference - Lobe 3 | 0 | 0.003 | 0 | 0.01 | 0.003 |  | not ok
65 | Lift Difference - Lobe 4 | Lift Difference - Lobe 4 | 0 | 0.003 | 0 | 0.01 | 0.003 |  | not ok
66 | Lift Difference - Lobe 5 | Lift Difference - Lobe 5 | 0 | 0.003 | 0 | 0.01 | 0.003 |  | not ok
67 |  | Lift Difference - Lobe 6 | 0 | -999.9 | -0.01 | 0.01 | -999.9 | -999.89 | not ok
68 | Lift Error BC - Lobe 1 | Lift Error BC - Lobe 1 | 0 | -0.002 | -0.025 | 0.025 | -0.002 |  | ok
69 | Lift Error BC - Lobe 2 | Lift Error BC - Lobe 2 | 0 | -0.002 | -0.025 | 0.025 | -0.002 |  | ok
70 | Lift Error BC - Lobe 3 | Lift Error BC - Lobe 3 | 0 | -0.001 | -0.025 | 0.025 | -0.001 |  | ok
71 | Lift Error BC - Lobe 4 | Lift Error BC - Lobe 4 | 0 | 0.003 | -0.025 | 0.025 | 0.003 |  | ok
72 | Lift Error BC - Lobe 5 | Lift Error BC - Lobe 5 | 0 | 0.01 | -0.025 | 0.025 | 0.01 |  | ok
73 |  | Lift Error BC - Lobe 6 | 0 | -999.9 | -0.025 | 0.025 | -999.9 | -999.875 | not ok
74 | Lift Error Closing Ramp - Lobe 1 | Lift Error Closing Ramp - Lobe 1 | 0 | 0.039 | -0.05 | 0.05 | 0.039 |  | ok
75 | Lift Error Closing Ramp - Lobe 2 | Lift Error Closing Ramp - Lobe 2 | 0 | 0.03 | -0.05 | 0.05 | 0.03 |  | ok
76 | Lift Error Closing Ramp - Lobe 3 | Lift Error Closing Ramp - Lobe 3 | 0 | 0.03 | -0.05 | 0.05 | 0.03 |  | ok
77 | Lift Error Closing Ramp - Lobe 4 | Lift Error Closing Ramp - Lobe 4 | 0 | 0.031 | -0.05 | 0.05 | 0.031 |  | ok
78 | Lift Error Closing Ramp - Lobe 5 | Lift Error Closing Ramp - Lobe 5 | 0 | 0.032 | -0.05 | 0.05 | 0.032 |  | ok
79 |  | Lift Error Closing Ramp - Lobe 6 | 0 | -999.9 | -0.05 | 0.05 | -999.9 | -999.85 | not ok
80 | Lift Error Nose - Lobe 1 | Lift Error Nose - Lobe 1 | 0 | 0.033 | -0.05 | 0.05 | 0.033 |  | not ok
81 | Lift Error Nose - Lobe 2 | Lift Error Nose - Lobe 2 | 0 | 0.025 | -0.05 | 0.05 | 0.025 |  | not ok
82 | Lift Error Nose - Lobe 3 | Lift Error Nose - Lobe 3 | 0 | 0.024 | -0.05 | 0.05 | 0.024 |  | not ok
83 | Lift Error Nose - Lobe 4 | Lift Error Nose - Lobe 4 | 0 | 0.025 | -0.05 | 0.05 | 0.025 |  | not ok
84 | Lift Error Nose - Lobe 5 | Lift Error Nose - Lobe 5 | 0 | 0.032 | -0.05 | 0.05 | 0.032 |  | not ok
85 |  | Lift Error Nose - Lobe 6 | 0 | -999.9 | -0.05 | 0.05 | -999.9 | -999.85 | not ok
86 | Lift Error Opening Ramp - Lobe 1 | Lift Error Opening Ramp - Lobe 1 | 0 | 0.041 | -0.1 | 0.1 | 0.041 |  | not ok
87 | Lift Error Opening Ramp - Lobe 2 | Lift Error Opening Ramp - Lobe 2 | 0 | 0.032 | -0.1 | 0.1 | 0.032 |  | not ok
88 | Lift Error Opening Ramp - Lobe 3 | Lift Error Opening Ramp - Lobe 3 | 0 | 0.031 | -0.1 | 0.1 | 0.031 |  | not ok
89 | Lift Error Opening Ramp - Lobe 4 | Lift Error Opening Ramp - Lobe 4 | 0 | 0.032 | -0.1 | 0.1 | 0.032 |  | not ok
90 | Lift Error Opening Ramp - Lobe 5 | Lift Error Opening Ramp - Lobe 5 | 0 | 0.034 | -0.1 | 0.1 | 0.034 |  | not ok
91 |  | Lift Error Opening Ramp - Lobe 6 | 0 | -999.9 | -0.025 | 0.025 | -999.9 | -999.875 | not ok
92 | Parallelism - A | Parallelism - A | 0 | 0 | 0 | 0.015 | 0 |  | not ok
93 | Parallelism - B | Parallelism - B | 0 | 0.001 | 0 | 0.015 | 0.001 |  | not ok
94 | Parallelism - C | Parallelism - C | 0 | 0 | 0 | 0.015 | 0 |  | not ok
95 | Parallelism - D | Parallelism - D | 0 | 0 | 0 | 0.015 | 0 |  | not ok
96 | Parallelism - E | Parallelism - E | 0 | 0 | 0 | 0.015 | 0 |  | not ok
97 | Parallelism - F | Parallelism - F | 0 | 0 | 0 | 0.015 | 0 |  | ok
98 | Parallelism - G | Parallelism - G | 0 | 0.001 | 0 | 0.015 | 0.001 |  | ok
99 | Parallelism - Lobe 1 | Parallelism - Lobe 1 | 0 | 0.001 | 0 | 0.02 | 0.001 |  | not ok
100 | Parallelism - Lobe 2 | Parallelism - Lobe 2 | 0 | 0.001 | 0 | 0.02 | 0.001 |  | not ok
101 | Parallelism - Lobe 3 | Parallelism - Lobe 3 | 0 | 0 | 0 | 0.02 | 0 |  | not ok
102 | Parallelism - Lobe 4 | Parallelism - Lobe 4 | 0 | 0.001 | 0 | 0.02 | 0.001 |  | not ok
103 | Parallelism - Lobe 5 | Parallelism - Lobe 5 | 0 | 0.001 | 0 | 0.02 | 0.001 |  | not ok
104 |  | Parallelism - Lobe 6 | 0 | -999.9 | 0 | 0.02 | -999.9 | -999.9 | not ok
105 | Runout [Adj] - A | Runout [Adj] - A | 0 | 0.002 | 0 | 0.12 | 0.002 |  | not ok
106 | Runout [Adj] - B | Runout [Adj] - B | 0 | 0.01 | 0 | 0.12 | 0.01 |  | not ok
107 | Runout [Adj] - C | Runout [Adj] - C | 0 | 0.026 | 0 | 0.12 | 0.026 |  | not ok
108 | Runout [Adj] - D | Runout [Adj] - D | 0 | 0.034 | 0 | 0.12 | 0.034 |  | not ok
109 | Runout [Adj] - E | Runout [Adj] - E | 0 | 0.022 | 0 | 0.12 | 0.022 |  | not ok
110 | Runout [Adj] - F | Runout [Adj] - F | 0 | 0.004 | 0 | 0.12 | 0.004 |  | not ok
111 | Runout [Adj] - G | Runout [Adj] - G | 0 | 0.002 | 0 | 0.12 | 0.002 |  | not ok
112 |  | Runout [B - C] - A | 0 | 0.002 | 0 | 0.03 | 0.002 |  | not ok
113 |  | Runout [E - F] - G | 0 | 0.002 | 0 | 0.03 | 0.002 |  | not ok
114 |  | Runout [Ext] - B | 0 | 0.005 | 0 | 0.03 | 0.005 |  | not ok
115 |  | Runout [Ext] - C | 0 | 0.006 | 0 | 0.03 | 0.006 |  | not ok
116 |  | Runout [Ext] - D | 0 | 0.011 | 0 | 0.03 | 0.011 |  | not ok
117 |  | Runout [Ext] - E | 0 | 0.004 | 0 | 0.03 | 0.004 |  | not ok
118 |  | Runout [Ext] - F | 0 | 0.002 | 0 | 0.03 | 0.002 |  | not ok
119 | Runout [Gage] - A | Runout [Gage] - A | 0 | 0.016 | 0 | 0.05 | 0.016 |  | ok
120 | Runout [Gage] - B | Runout [Gage] - B | 0 | 0.015 | 0 | 0.05 | 0.015 |  | ok
121 | Runout [Gage] - C | Runout [Gage] - C | 0 | 0.024 | 0 | 0.05 | 0.024 |  | ok
122 | Runout [Gage] - D | Runout [Gage] - D | 0 | 0.011 | 0 | 0.03 | 0.011 |  | not ok
123 | Runout [Gage] - E | Runout [Gage] - E | 0 | 0.024 | 0 | 0.05 | 0.024 |  | ok
124 | Runout [Gage] - F | Runout [Gage] - F | 0 | 0.045 | 0 | 0.05 | 0.045 |  | ok
125 | Runout [Gage] - G | Runout [Gage] - G | 0 | 0.048 | 0 | 0.05 | 0.048 |  | ok
126 | Part: DW |  | 5 | 996 | 3 | 70 | 991 | 926 | not ok
127 | Vinkel mellan ytorna U-Z |  | 40 | 40.002 | -0.007 | 0.007 | 0.002 | 39.995 | not ok
128 | Avstånd område U till ref.axel |  | 39.7 | 39.689 | -0.05 | 0.05 | -0.011 | 39.639 | not ok
129 | Avstånd område Z till ref.axel |  | 39.7 | 39.707 | -0.05 | 0.05 | 0.007 | 39.657 | not ok
130 | Meas Diam [Inf] - A |  | 35.967 | 35.966 | -0.008 | 0.008 | -0.001 | 35.958 | not ok
131 | Meas Diam [Inf] - B |  | 35.967 | 35.964 | -0.008 | 0.008 | -0.003 | 35.956 | not ok
132 | Meas Diam [Inf] - C |  | 35.967 | 35.962 | -0.008 | 0.008 | -0.005 | 35.954 | not ok
133 | Meas Diam [Inf] - D |  | 35.967 | 35.965 | -0.008 | 0.008 | -0.002 | 35.957 | not ok
134 | Meas Diam [Inf] - E |  | 35.967 | 35.971 | -0.008 | 0.008 | 0.004 | 35.963 | not ok
135 | Meas Diam [Inf] - F |  | 47.967 | 47.991 | -0.008 | 0.008 | 0.024 | 47.983 | not ok
136 | Meas Diam [Inf] - G |  | 47.967 | 47.99 | -0.008 | 0.008 | 0.023 | 47.982 | not ok
137 | Diameter - D52 |  | 51.982 | 51.982 | -0.009 | 0.009 | 0.001 | 51.973 | not ok
138 | Meas Diam [Center] - A |  | 35.967 | 35.958 | -0.008 | 0.008 | -0.009 | 35.95 | not ok
139 | Meas Diam [Center] - B |  | 35.967 | 35.963 | -0.008 | 0.008 | -0.004 | 35.955 | not ok
140 | Meas Diam [Center] - C |  | 35.967 | 35.964 | -0.008 | 0.008 | -0.003 | 35.956 | not ok
141 | Meas Diam [Center] - D |  | 35.967 | 35.958 | -0.008 | 0.008 | -0.009 | 35.95 | not ok
142 | Meas Diam [Center] - E |  | 35.967 | 35.962 | -0.008 | 0.008 | -0.005 | 35.954 | not ok
143 | Meas Diam [Center] - F |  | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | not ok
144 | Meas Diam [Center] - G |  | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | not ok
145 | Diameter - D72 |  | 71.963 | 71.999 | -0.037 | 0.037 | 0.036 | 71.962 | not ok
146 | Meas Diam [Sup] - A |  | 35.967 | 35.954 | -0.008 | 0.008 | -0.013 | 35.946 | not ok
147 | Meas Diam [Sup] - B |  | 35.967 | 35.961 | -0.008 | 0.008 | -0.006 | 35.953 | not ok
148 | Meas Diam [Sup] - C |  | 35.967 | 35.963 | -0.008 | 0.008 | -0.004 | 35.955 | not ok
149 | Meas Diam [Sup] - D |  | 35.967 | 35.956 | -0.008 | 0.008 | -0.011 | 35.948 | not ok
150 | Meas Diam [Sup] - E |  | 35.967 | 35.961 | -0.008 | 0.008 | -0.006 | 35.953 | not ok
151 | Meas Diam [Sup] - F |  | 47.967 | 47.965 | -0.008 | 0.008 | -0.002 | 47.957 | not ok
152 | Meas Diam [Sup] - G |  | 47.967 | 47.966 | -0.008 | 0.008 | -0.001 | 47.958 | not ok
153 | Cir_Mancal - A |  | 0 | 0.002 | 0 | 0.006 | 0.002 | 0 | not ok
154 | Cir_Mancal - B |  | 0 | 0.001 | 0 | 0.006 | 0.001 | 0 | not ok
155 | Cir_Mancal - C |  | 0 | 0.001 | 0 | 0.006 | 0.001 | 0 | not ok
156 | Cir_Mancal - D |  | 0 | 0.001 | 0 | 0.006 | 0.001 | 0 | not ok
157 | Cir_Mancal - E |  | 0 | 0.001 | 0 | 0.006 | 0.001 | 0 | not ok
158 | Cir_Mancal - F |  | 0 | 0.002 | 0 | 0.006 | 0.002 | 0 | not ok
159 | Cir_Mancal - G |  | 0 | 0.002 | 0 | 0.006 | 0.002 | 0 | not ok
160 | Roundness - D72 |  | 0 | 0.001 | 0 | 0.01 | 0.001 | 0 | not ok
161 | Roundness - D52 |  | 0 | 0.001 | 0 | 0.01 | 0.001 | 0 | not ok
162 | Runout [Adj] - D72 |  | 0 | 0.003 | 0 | 0.02 | 0.003 | 0 | not ok
163 | Runout [Adj] - D52 |  | 0 | 0.003 | 0 | 0.02 | 0.003 | 0 | not ok
164 | Kast; / A-F mitt - A |  | 0 | 0.002 | 0 | 0.12 | 0.002 | 0 | not ok
165 | Kast; / A-F mitt - B |  | 0 | 0.01 | 0 | 0.12 | 0.01 | 0 | not ok
166 | Kast; / A-F mitt - C |  | 0 | 0.026 | 0 | 0.12 | 0.026 | 0 | not ok
167 | Kast; / A-F mitt - D |  | 0 | 0.034 | 0 | 0.12 | 0.034 | 0 | not ok
168 | Kast; / A-F mitt - E |  | 0 | 0.022 | 0 | 0.12 | 0.022 | 0 | not ok
169 | Kast; / A-F mitt - F |  | 0 | 0.004 | 0 | 0.12 | 0.004 | 0 | not ok
170 | Kast; / A-F mitt - G |  | 0 | 0.002 | 0 | 0.12 | 0.002 | 0 | not ok
171 | Runout [Gage] - D72 |  | 0 | 0.054 | 0 | 0.04 | 0.054 | 0.014 | not ok
172 | Runout [Gage] - D52 |  | 0 | 0.056 | 0 | 0.04 | 0.056 | 0.016 | not ok
173 | Parallellitet mot närligande (ej ritnings krav) - D52 |  | 0 | 0.001 | 0 | 0.02 | 0.001 | 0 | not ok
174 | Lift Difference - A |  | 0 | 0 | 0 | 0.015 | 0 | 0 | not ok
175 | Lift Difference - B |  | 0 | 0.001 | 0 | 0.015 | 0.001 | 0 | not ok
176 | Lift Difference - C |  | 0 | 0 | 0 | 0.015 | 0 | 0 | not ok
177 | Lift Difference - D |  | 0 | 0 | 0 | 0.015 | 0 | 0 | not ok
178 | Lift Difference - E |  | 0 | 0 | 0 | 0.015 | 0 | 0 | not ok
179 | Lift Difference - F |  | 0 | 0 | 0 | 0.015 | 0 | 0 | not ok
180 | Lift Difference - G |  | 0 | 0.001 | 0 | 0.015 | 0.001 | 0 | not ok
181 | Parallelitet / (över-under) (ej ritnings krav) - D52 |  | 0 | 0 | 0 | 0.02 | 0 | 0 | not ok
182 | GC Kast / mot dubb (processmått) - Lobe 1 |  | 0 | 0.016 | 0 | 0.05 | 0.016 | 0 | not ok
183 | GC Kast / mot dubb (processmått) - Lobe 2 |  | 0 | 0.019 | 0 | 0.05 | 0.019 | 0 | not ok
184 | GC Kast / mot dubb (processmått) - Lobe 3 |  | 0 | 0.014 | 0 | 0.05 | 0.014 | 0 | not ok
185 | GC Kast / mot dubb (processmått) - Lobe 4 |  | 0 | 0.024 | 0 | 0.05 | 0.024 | 0 | not ok
186 | GC Kast / mot dubb (processmått) - Lobe 5 |  | 0 | 0.04 | 0 | 0.05 | 0.04 | 0 | not ok
187 | Språngavvikelse - Lobe 1 |  | 0 | 0.003 | 0 | 0.01 | 0.003 | 0 | not ok
188 | Språngavvikelse - Lobe 2 |  | 0 | 0.003 | 0 | 0.01 | 0.003 | 0 | not ok
189 | Språngavvikelse - Lobe 3 |  | 0 | 0.003 | 0 | 0.01 | 0.003 | 0 | not ok
190 | Språngavvikelse - Lobe 4 |  | 0 | 0.003 | 0 | 0.01 | 0.003 | 0 | not ok
191 | Språngavvikelse - Lobe 5 |  | 0 | 0.003 | 0 | 0.01 | 0.003 | 0 | not ok